## Fire Alarm
Fire Alarm Panel Details |  |  |  |  | Device Type & Quantity
Location | Building ID | Manufacturer | Model | System | Device Count | Annunciator | Battery | Beam Detector | Bell | Chime/Strobe | Communication Line | Communicator | Control Panel | Disconnect | Duct Detector | End of Line | Expander Panel | Fan Shutdown | Fault Isolation Module | Heat Detector | Horn | Horn/Strobe | Indicating Device | Kitchen Hood | Monitor Device | Monitoring | Programmable Relay | Pull Station | Smoke Detector | Strobe
Administration Complex | 1220138 | Simplex Grinnell | 4100 U | Addressable | 329 | 2 | 3 |  | 92 |  |  |  | 1 | 1 | 15 | 9 | 1 |  |  | 19 | 8 | [6 empty] | 67 | 50 | 61
Africa Pavilion | 1220102 | Notifier | NFS2-640C | Addressable | 134 | 1 | 1 | 12 |  | 1 |  | 3 | 1 | 1 |  | 5 |  |  | 3 | 36 | 20 |  | 2 |  |  | 2 |  | 19 | 26 | 1
Africa Restaurant | 1220133 | Notifier | AFP 200C | Addressable | 47 | 1 | 1 | [5 empty] | 1 | 1 |  | 1 |  |  | 3 | 16 | 5 |  |  | 2 | 2 | 2 |  | 11 | 1
Americas Pavilion | 1220147 | Notifier | NFS 320C | Addressable | 46 | 1 | 1 |  |  |  |  | 1 | 1 | 1 |  |  |  |  | 3 | 19 | 10 |  |  |  |  | 2 |  | 7
Americas Restaurant | 1220132 | Notifier | AFP 200C | Addressable | 41 | 1 | 1 | [5 empty] | 1 | 1 |  | 2 |  |  | 2 | 14 | 5 | 3 |  | 1 | 2 |  |  | 7 | 1
Amur Tiger House | 1220123 | Notifier | NFS 320C | Addressable | 15 |  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1 | 2 | 3 | 1 |  |  |  |  | 2 |  | 2
Artic Wolf House | 1220125 | Edwards | FSP 502 | Conventional | 8 |  | 1 |  | 1 |  |  |  | 1 | 1 |  | 1 |  |  |  | 1 | [5 empty] | 2
Australasia Pavilion | 1220142 | Notifier | NFS 320C | Addressable | 60 | 1 | 1 | [5 empty] | 1 | 1 | 1 | 2 |  |  | 2 | 17 | 12 | [6 empty] | 11 | 11
Baboon House | 1220135 | Notifier | SFP 10 UD | Conventional | 23 |  | 1 |  | 2 |  |  | 2 | 1 | 1 | 1 | 2 |  |  |  | 10 | [7 empty] | 3
Bird Barn/Education Portable | 1220144 | GE | FSP | Conventional | 32 | 1 | 1 |  | 3 |  |  |  | 1 | 1 |  | 2 |  |  |  | 4 | 2 |  |  |  |  | 2 |  | 5 | 10
Bird Hoofstock | 1220130 | Edwards | FSP 502 | Conventional | 60 |  | 1 |  | 7 |  |  | 2 | 1 | 1 | 1 | 6 |  |  |  | 36 |  |  | 1 |  |  |  |  | 4
Camel House | 1220100 | Notifier | NFS 320C | Conventional | 10 |  | 1 |  | 1 |  |  |  | 1 | 1 |  | 2 |  |  |  | 3 | [7 empty] | 1
Cheetah House | 1220134 | Edwards | FSP 502 | Conventional | 24 |  | 1 |  | 2 |  |  | 2 | 1 | 1 | 1 | 3 |  |  |  | 10 |  |  | 1 |  |  |  |  | 2
Education Building/Zootique | 1220140 | Edwards | FSP 502 | Conventional | 54 |  | 1 |  | 11 |  |  | 2 | 1 | 1 |  | 5 |  |  |  | 11 | [7 empty] | 15 | 7
Eurasia Retail | 1220124 | Notifier | NFS 320C | Addressable | 10 |  | 1 | [5 empty] | 1 | 1 | [5 empty] | 3 | [5 empty] | 1 |  | 3
Eurasia Washrooms | 1220122 | Notifier | NFS 320C | Addressable | 9 |  | 1 |  | 1 |  |  |  | 1 | 1 | [5 empty] | 3 | 1 |  |  |  |  | 1
Ferret/Marmot Barn | 1220127 | Edwards | FSP 502 | Conventional | 34 |  | 1 |  | 1 |  |  |  | 1 | 1 | [5 empty] | 4 |  | 2 |  |  |  | 2 |  | 6 | 16
Finch Barn | 1220149 | Edwards | FSP 502 | Conventional | 9 |  | 1 |  | 1 |  |  | 2 | 1 | 1 |  | 1 | [12 empty] | 2
Giraffe House | 1220101 | Notifier | AFP 200C | Addressable | 46 | 1 | 1 |  |  |  |  | 2 | 1 | 1 | 1 | 4 |  |  | 2 | 23 | 3 | 1 | [5 empty] | 6
Indian Rhino Pavilion | 1220143 | Notifier | SFP-10UFD | Conventional | 22 |  | 1 |  | 3 |  |  | 2 | 1 | 1 | [5 empty] | 8 | [7 empty] | 6
Indo-Malaya Pavilion | 1220146 | Notifier | NFS 320C | Addressable | 104 | 1 | 1 | 6 |  |  |  | 2 | 1 | 1 | 2 | 1 |  |  | 3 | 33 | 11 | 1 | 5 |  | 4 | 3 |  | 15 | 14
Lion House | 1220136 | Edwards | FSP 502 | Conventional | 21 |  | 1 |  | 2 |  |  |  | 1 | 1 | 1 | 3 |  |  |  | 10 | [7 empty] | 2
Main Barn | 1220148 | Edwards | FSP 502 | Conventional | 14 |  | 1 |  | 2 |  |  | 2 | 1 | 1 |  | 1 | [12 empty] | 6
Malayan Woods | 1220152 | Notifier | NFS 320C | Addressable | 22 |  | 1 | [5 empty] | 1 | 1 |  | 1 |  |  | 4 | 3 | 4 |  |  |  |  | 2 |  | 4 | 1
Mayan Temple | 1220145 | EST | FS 101 G | Conventional | 10 |  | 1 |  | 1 |  |  |  | 1 | 1 | [5 empty] | 5 | [7 empty] | 1
Membership Building | 1220150 | Notifier | NFS 320C | Addressable | 64 | 1 | 1 |  | 1 |  |  |  | 1 | 1 |  | 3 |  |  | 2 | 25 | 13 | [6 empty] | 10 | 6
Polar Bear House | 1220126 | Notifier | NFS 320C | Addressable | 17 |  | 1 |  |  |  | 1 |  | 1 | 1 |  |  |  | 1 | 3 | 6 |  |  |  |  | 1 |  | 1 |  | 1
Przewalski's Horse | 1220099 | Edwards | 2458980 | Conventional | 10 |  | 1 |  | 1 |  |  |  | 1 | 1 |  | 1 |  |  |  | 2 | [5 empty] | 2 |  | 1
Rhino Hoofstock | 1220137 | Edwards | EST Quick Start | Conventional | 69 |  | 1 |  | 6 |  |  | 2 | 1 | 1 | 2 | 4 |  |  |  | 40 |  |  | 2 |  |  |  |  | 6 | 4
Snow Leopard | 1220121 | Notifier | NFS 320C | Addressable | 14 |  | 1 |  | 2 |  |  |  | 1 | 1 |  | 1 |  |  |  | 5 | [7 empty] | 3
Special Events Center | 1220131 | EST | FS 101 G | Conventional | 28 |  | 1 |  | 6 |  |  |  | 1 | 1 |  | 2 |  |  |  | 10 | [5 empty] | 2 |  | 5
Transit Building | 1220139 | Simplex Grinnell | 4005 | Conventional | 60 |  | 1 |  | 9 |  |  | 2 | 1 | 1 | 2 | 1 |  |  |  | 34 | [7 empty] | 9
Valley Halla | 1220151 | EST | FS 101 G | Conventional | 8 |  | 1 |  | 1 |  |  |  | 1 | 1 | [11 empty] | 2 |  |  | 2
|  |  |  | Total | 1454 | 11 | 35 | 18 | 156 | 1 | 1 | 26 | 33 | 33 | 27 | 64 | 1 | 2 | 29 | 413 | 95 | 7 | 11 | 3 | 9 | 27 | 1 | 231 | 158 | 62

## Sprinkler
Sprinkler Details |  | Device Type & Quantity
Location | Building ID | Device Count | Air Compressor | Alarm Valve | Backflow Prevention | Control Valve | Drain | Dry Pipe Valve | Excess Presure Pump | Fire Dep't Connection | Jockey Controller | Presure Switch | Sprinkler Box | Tamper Switch | Waterflow Switch | Watermotor Gong
Administration Complex & Transit Building | 41817 | 86 | 2 | 3 | 1 | 23 | 2 | 2 | 2 | 1 | 1 | 5 | 2 | 23 | 17 | 2

## Suppression
Suppression Details |  | Device Type & Quantity
Location | Building ID | Device Count | Agent Tank | Annunciator | Bell | Cartridge | Control Panel | Cooking Equipment | Cylinder | Disconnect | End of Line | Fusible Link | Kitchen System | Module | Monitoring | Nozzle | Piping | Pull Station | Relay | Special Control
Africa Restauarnt - Beavertails | 1220108 | 12 |  | 1 |  |  | 2 | 1 | 1 |  |  | 1 | 2 | 1 |  | 2 |  | 1
Africa Restauarnt - Fryer (Inside) | 1220111 | 12 |  | 1 |  | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 |  | 2 |  | 1 |  | 1
Africa Restauarnt - Grill (Inside) | 1220112 | 9 | [5 empty] | 1 | 1 |  |  | 1 | 1 |  | 1 | 2 |  | 1 |  | 1
Africa Restauarnt - Pizza Pizza (Inside) | 1220113 | 12 |  | 1 |  | 1 | 2 | 1 | 1 |  |  | 1 | 1 | 1 |  | 2 |  | 1
Africa Restauarnt - Smokes Fryer (Outside) | 1220109 | 12 |  | 1 |  | 1 | 2 | 1 | 1 |  |  | 1 |  | 1 |  | 2 |  | 1 |  | 1
Africa Restauarnt - Smokes Range Hood (Outside) | 1220110 | 9 | [5 empty] | 1 | 1 |  |  | 1 | 1 | 1 |  | 2 |  | 1 |  | 1
Beavertails Lodge | 1220115 | 7 |  |  |  |  | 1 |  | 1 |  |  | 1 |  |  |  | 2 |  | 1 |  | 1
Beavertails Trailer | 1220114 | 9 |  |  |  |  | 1 | 1 | 1 |  |  | 1 |  |  |  | 3 |  | 1 |  | 1
Caribou Café - Fryer | 1220119 | 10 |  |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 | 1 | 1 | 1 | 2 | 1
Caribou Café - Grill | 1220120 | 9 | 1 | [8 empty] | 1 |  |  | 1 | 3 | 1 | 1 |  | 1
Caribou Café - Pizza Pizza | 1220118 | 10 | 1 |  |  |  | 1 |  |  |  | 1 | 1 |  | 1 |  | 3 |  | 1 |  | 1
Caribou Café - Polar Patio | 1220117 | 11 |  |  |  |  | 1 | 1 | 1 |  |  | 2 |  |  |  | 4 |  | 1 |  | 1
Eurasia - Pizza Pizza | 1220116 | 10 |  |  | 1 |  | 1 | 1 | 1 | 1 |  | 1 |  |  |  | 2 |  | 1 |  | 1
Savanna - Pizza Pizza | 1220107 | 9 | [5 empty] | 1 | 1 |  |  | 2 | 1 |  |  | 2 |  | 1 |  | 1
Simba Lodge - Fryer | 1220104 | 9 |  |  | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 |  |  | 1 |  | 1
Simba Lodge - Grill | 1220105 | 8 |  |  | 1 |  |  | 1 | 1 |  |  | 1 | 1 |  |  | 1 |  | 1 |  | 1
Smokes Trailer | 1220129 | 10 |  |  | 1 |  |  |  | 1 | 1 |  | 1 | 1 |  |  | 3 |  | 1 |  | 1
| Total | 168 | 2 | 4 | 4 | 5 | 13 | 12 | 15 | 2 | 1 | 19 | 10 | 6 | 3 | 37 | 2 | 17 | 2 | 14

## Hydrants
Hydrant Details
Hydrant # | Location | Building ID | Model
1 | Indian Rhino Flower Bed | Not yet coded | M67
2 | South of Indo-Malaya Pavilion | Not yet coded | AVK
3 | Giraffe Viewing | Not yet coded | CENTURY
4 | Outside Gorilla Holding | Not yet coded | B50B
5 | West Side of Africa Lookout | Not yet coded | CENTURY
6 | Africa Restaurant | Not yet coded | M67
7 | Pengiuns | Not yet coded | AVK
8 | Mayan Temple Picnic Area | Not yet coded | M67
9 | Outdoor Holding | Not yet coded | B50B
10 | Americas Restaurant | Not yet coded | M67
11 | Americas Pavilion | Not yet coded | CENTURY
12 | Northeast Splash Island | Not yet coded | CENTURY
13 | Australasia Pavilion | Not yet coded | M67
14 | Eurasia Snackbar | Not yet coded | M67
15 | Groundskeeping | Not yet coded | M67
16 | Southwast North Service | Not yet coded | M67
17 | Northeast North Service | Not yet coded | M67
18 | Northwest North Service | Not yet coded | CT
19 | West North Service | Not yet coded | CENTURY
20 | Lions | Not yet coded | AVK
21 | Madagascar Snackbar | Not yet coded | M67
22 | Weston Station | Not yet coded | M67
23 | Savanna Snackbar | Not yet coded | AVK
24 | Cheetah (North) | Not yet coded | AVK
25 | East Africa (Gorilla Entrance) | Not yet coded | CENTURY
26 | Education Building (East) | Not yet coded | M67
27 | Education Building (South) | Not yet coded | M67
28 | Membership Building | Not yet coded | M67
29 | Front Entrance (West Parrot) | Not yet coded | M67
30 | Snow Leopord Holding Entrance | Not yet coded | N/A
31 | Waterway Fill (Not to be Tested) | Not yet coded | N/A
32 | 1st Hydrant @ Drop-off Loop North | Not yet coded | CENTURY
33 | 2nd Hydrant @ Drop-off Loop North | Not yet coded | CENTURY
34 | 1st Hydrant @ Drop-off Loop South | Not yet coded | CENTURY
35 | Parking Lot Section A @ Bike Path | Not yet coded | CENTURY
36 | Eurasia Plaza | Not yet coded | AVK
37 | Outdoor Orangutan | Not yet coded | CENTURY

## Emergency Lighting
Emergency/Exit Lighting Details |  | Device Type & Quantity
Location | Building ID | Device Count | Exit Light | Emergency Head | Battery Pack
Administration Complex | Not yet coded | 105 | 85 | 10 | 10
Africa Pavilion | Not yet coded | 38 | 26 | 6 | 6
Africa Restaurant | Not yet coded | 18 | 12 | 4 | 2
Americas Pavilion | Not yet coded | 15 | 9 | 3 | 3
Americas Restaurant | Not yet coded | 7 | 3 | 3 | 1
Amur Tiger House | Not yet coded | 4 | 2 | 1 | 1
Artic Fox House | Not yet coded | 1 | 1
Artic Wolf House | Not yet coded | 1 | 1
Australasia Pavilion | Not yet coded | 24 | 12 | 10 | 2
Baboon House | Not yet coded | 7 | 2 | 4 | 1
Barbary Ape House | Not yet coded | 1 | 1
Beavertails Lodge | Not yet coded | 2 | 1 | 1
Bird Barn | Not yet coded | 3 | 3
Bird Hoofstock | Not yet coded | 9 | 4 | 4 | 1
Camel House | Not yet coded | 5 | 1 | 2 | 2
Canopy Classroom | Not yet coded | 2 | 2
Cheetah House | Not yet coded | 7 | 1 | 5 | 1
Cheetah (Outdoor Holding) | Not yet coded | 1 | 1
Conservation Clubhouse | Not yet coded | 3 | 3
Crested Porcupine | Not yet coded | 1 | 1
Dhole House | Not yet coded | 1 | 1
Duck House | Not yet coded | 1 | 1
Education Building/Zootique | Not yet coded | 48 | 19 | 26 | 3
Education Portable | Not yet coded | 3 | 3
Eurasia Retail | Not yet coded | 3 | 3
Eurasia Washrooms | Not yet coded | 3 |  | 2 | 1
Eurasia Snackbar | Not yet coded | 7 | 1 | 3 | 3
Eurasia Pizza Pizza | Not yet coded | 2 |  | 1 | 1
First Aid Center | Not yet coded | 3 | 1 | 1 | 1
Ferret Barn | Not yet coded | 11 | 5 | 5 | 1
Finch Barn | Not yet coded | 2 |  | 1 | 1
Gate House | Not yet coded | 2 | 2
Giraffe House | Not yet coded | 21 | 10 | 9 | 2
Greenhouse Giftshop | Not yet coded | 2 | 2
Grizzly Bear House | Not yet coded | 2 |  | 1 | 1
Hayshed | Not yet coded | 2 |  | 1 | 1
Hippo House | Not yet coded | 1 | 1
Horticulture Building | Not yet coded | 15 | 9 | 5 | 1
Hyena House | Not yet coded | 1 | 1
Indian Rhino Pavilion | Not yet coded | 13 | 6 | 6 | 1
Indo-Malaya Pavilion | Not yet coded | 18 | 12 | 3 | 3
Katta House | Not yet coded | 2 |  | 1 | 1
Kesho Park Headquarters | Not yet coded | 2 |  | 1 | 1
Lemur/Peafowl | Not yet coded | 1 | 1
Lion House | Not yet coded | 8 | 1 | 6 | 1
Main Barn | Not yet coded | 1 | 1
Malayan Woods | Not yet coded | 7 | 5 | 1 | 1
Maridadi Duka | Not yet coded | 2 |  | 1 | 1
Malayan Woods | Not yet coded | 7 | 5 | 1 | 1
Mayan Temple | Not yet coded | 3 | 1 | 1 | 1
Membership Building | Not yet coded | 18 | 12 | 4 | 2
Mouflon House | Not yet coded | 3 | 1 | 1 | 1
Old Lion Holding | Not yet coded | 1 | 1
Outdoor Holding Keeper House | Not yet coded | 3 | 1 | 1 | 1
Penguin Holding | Not yet coded | 3 | 1 | 1 | 1
Polar Bear House | Not yet coded | 4 | 2 | 1 | 1
Przewalski's Horse | Not yet coded | 3 | 1 | 1 | 1
Red Panda House | Not yet coded | 2 |  | 1 | 1
Rhino Hoofstock | Not yet coded | 12 | 5 | 6 | 1
Savanna Snackbar | Not yet coded | 2 | 2
Schofield Pump House | Not yet coded | 2 |  | 1 | 1
Simba Lodge | Not yet coded | 6 | 2 | 2 | 2
Snow Leopard | Not yet coded | 8 | 3 | 4 | 1
Special Events Center | Not yet coded | 19 | 7 | 6 | 6
Splash Island | Not yet coded | 17 | 4 | 8 | 5
Sumatran Tiger | Not yet coded | 2 |  | 1 | 1
Tim Hortons Express | Not yet coded | 4 | 2 | 1 | 1
Transit Building | Not yet coded | 21 | 7 | 7 | 7
Valley Halla | Not yet coded | 7 | 2 | 5
Waterside Holding | Not yet coded | 3 | 1 | 1 | 1
Watusi Holding | Not yet coded | 1 | 1
Weston Station | Not yet coded | 2 |  | 1 | 1
Wildebeest & Ostrich Holding | Not yet coded | 1 | 1
Wisent House | Not yet coded | 4 | 2 | 1 | 1
| Total | 596 | 320 | 183 | 93

## Fire Extinguishers
Fire Extinguisher Details |  | Device Type & Quantity
Location | Building ID | Device Count | Type PW | Type K | Tybe ABC | Type BC
Administration Complex | 941417 | 65 | 1 |  | 60 | 4
Africa Pavilion | Not Yet Coded | 26 | 2 |  | 23 | 1
Africa Restaurant | Not Yet Coded | 11 |  | 2 | 9
Americas Pavilion | 941388 | 14 | 2 |  | 12
Americas Restaurant | 941387 | 6 |  |  | 6
Amur Tiger House | 941380 | 2 |  |  | 2
Artic Wolf House | 941390 | 1 |  |  | 1
Australasia Pavilion | 941399 | 13 |  |  | 13
Baboon House | 941373 | 2 |  |  | 2
Barbary Ape House | Not Yet Coded | 2 |  |  | 2
Beavertails Lodge | 941368 | 2 |  | 1 | 1
Bird Barn | 941391 | 2 |  |  | 2
Bird Hoofstock | 941437 | 4 |  |  | 4
Bison | Not Yet Coded | 1 |  |  | 1
Camel House | 941383 | 1 | 1
Canadian Domain | Not Yet Coded | 5 | 1 |  | 4
Canopy Classroom | 941420 | 2 |  |  | 2
Cheetah House | 941369 | 1 |  |  | 1
Conservation Clubhouse | Not Yet Coded | 2 |  |  | 2
Crested Porcupine | Not Yet Coded | 1 |  |  | 1
Dhole House | 941377 | 2 |  |  | 2
Dromedary Camel | Not Yet Coded | 1 | 1
Duck House | 941416 | 1 |  |  | 1
Education Building | 941433 | 9 | 2 |  | 2 | 5
Education Portable | 941430 | 2 |  |  | 2
Eurasia Retail | Not Yet Coded | 2 |  |  | 2
Eurasia Snackbar | Not Yet Coded | 1 |  |  | 1
Eurasia Pizza Pizza | 1081438 | 2 |  | 1 | 1
Ferret Barn | 941364 | 2 |  |  | 2
Finch Barn | 941418 | 3 |  |  | 3
First Aid Center | 941443 | 1 |  |  | 1
Fuel Pump | Not Yet Coded | 1 |  |  | 1
Giraffe House | 941439 | 6 | 1 |  | 5
Greenhouse Giftshop | 941415 | 1 |  |  | 1
Grizzly Bear House | 941422 | 1 |  |  | 1
Hayshed | 941429 | 3 |  |  | 3
Hippo House | 941440 | 1 |  |  | 1
Horticulture Building | 941411 | 9 |  |  | 7 | 2
Hyena House | 941428 | 1 |  |  | 1
Indian Rhino Pavilion | 941404 | 3 |  |  | 2 | 1
Indo-Malaya Pavilion | 941407 | 15 | 2 |  | 13
Katta House | 941414 | 1 |  |  | 1
Lemur/Peafowl | 941435 | 1 |  |  | 1
Lion House | 941374 | 1 |  |  | 1
Main Barn | 941367 | 10 |  |  | 9 | 1
Malayan Woods | 941403 | 6 | 1 |  | 5
Marmot Barn | Not Yet Coded | 3 |  |  | 3
Marque Tent | Not Yet Coded | 2 |  |  | 2
Mayan Temple | 941386 | 1 |  |  | 1
Membership Building | 941445 | 11 |  |  | 9 | 2
Moose House | 941424 | 1 | 1
Old Wolf Exhibit | Not Yet Coded | 1 |  |  | 1
Oryx | 941402 | 2 | 1 |  | 1
Outdoor Holding | 941393 | 5 | 1 |  | 4
Peacock Café | 941410 | 5 | 1 |  | 3 | 1
Penguin Holding | 941438 | 3 |  |  | 2 | 1
Polar Bear House | 941412 | 5 |  |  | 4 | 1
Potting Shed | Not Yet Coded | 1 |  |  | 1
Przewalski's Horse | 941448 | 2 | 1 |  | 1
Red Panda House | 941425 | 1 | 1
Rhino Hoofstock | 941378 | 4 |  |  | 4
Savanna Snackbar | 941370 | 1 |  |  | 1
Savanna Retail | 941371 | 1 |  |  | 1
Schofield Pump House | Not Yet Coded | 1 | 1
Silka Deer | Not Yet Coded | 1 | 1
Simba Lodge | 1081397 | 5 |  |  | 5
Snow Leopard | 941384 | 2 |  |  | 2
Special Events Center | 941406 | 6 |  |  | 6
Splash Island | Not Yet Coded | 2 |  |  | 2
Tim Hortons Express | 941395 | 1 |  |  | 1
Transit Building | 941436 | 16 |  |  | 10 | 6
Valley Halla | 941381 | 2 |  |  | 2
Waterfall Pump Room | Not Yet Coded | 1 |  |  | 1
Waterside Holding | Not Yet Coded | 1 |  |  | 1
Watusi House | 941408 | 2 |  |  | 2
Weston Station | 941389 | 1 |  |  | 1
Wildebeest & Ostrich Holding | Not Yet Coded | 1 |  |  | 1
Wisent House | 941382 | 2 | 1 |  | 1
Yak House | Not Yet Coded | 1 |  |  | 1
Zootique | Not Yet Coded | 7 |  | 7
| Total | 350 | 23 | 11 | 291 | 25